## rev. 02.08.16
ENERGY STAR® TM-28 Calculator February 2016
Note: Users should download a new copy of this calculator for each use, to ensure use of the most up-to-date version of the calculator. Users are encouraged to bookmark the hyperlink to this calculator. Project-specific copies complete with calculations may be saved on a local drive. This calculator is based on the Illuminating Engineering Society’s TM-28-14: Projecting Long-Term Luminous Flux Maintenance of LED Lamps and Luminaires. Calculator results have been reviewed by the U.S. National Institute of Standards and Technology (NIST). Calculations are locked; only data entry cells may be modified. Enter all product and test data as instructed on the "TM-28 Inputs" tab. The complete TM-28 report will appear on the "TM-28 Report" tab. Questions may be directed to lighting@energystar.gov.

## TM-28 Inputs
TM-28 Inputs
LM-84 Test Inputs
| Instructions | Description of LED Lamp, Light Engine, or Luminaire (manufacturer, model, catalog number) |  | Tested Case Temperature 1 |  | Tested Case Temperature 2
| Yellow fields are completed by the user; fields not used should be left blank. Cyan fields are calculated based on user entries. Step 1: Enter a description of the LED Lamp, Light Engine, or Luminaire tested. Step 2: Complete the fields labeled "LM-84 Testing Details." - If one ambient temperature data set is to be used (i.e., no interpolation), enter a value for only "Tested ambient temperature 1." - If two ambient temperature data sets are available, the lower temperature must be entered as "Tested ambient temperature 1" and the higher temperature must be entered as "Tested ambient temperature 2." Note that, in order to use interpolation functions, the maximum case temperature measured at both ambient temperatures must be provided in accordance with the procedures specified in LM-84-14. - Test duration(s) must be at least 6,000 hours. If the test durations for the two ambient temperatures are different, for both temperatures enter data from the time period equal to the shorter time period (e.g., if 6,000 and 10,000 hour test durations, enter data for zero to 6,000 hours from both data sets). Step 3: Enter the test data taken for the appropriate ambient temperature(s). - Time (hours) increments have been prepopulated consistent with LM-84; for test durations longer than 10,000 hours, enter additional measurement times as appropriate. - Lumen Maintenance (%) data entered must be normalized then averaged measured data (per TM-28-14 sections 5.1.1 and 5.1.2). Step 4: If using the interpolation function, enter drive current, in-situ temperature data and the percentage of initial lumens to project to in the fields labeled "In-Situ Inputs." Note that this temperature must be a case temperature. "Results" can be tailored to estimate lumen maintenance at a specific time by entering a value (t) in the yellow field. The complete TM-28 report can be found on the "TM-28 Report" tab. |  |  | Time (hours) | Lumen Maintenance (%) | Time (hours) | Lumen Maintenance (%)
|  |  |  | 0 |  | 0
|  |  |  | 1000 |  | 1000
|  |  |  | 2000 |  | 2000
|  |  |  | 3000 |  | 3000
|  |  |  | 4000 |  | 4000
|  | LM-84 Testing Details |  | 5000 |  | 5000
|  | Total number of units tested: |  | 6000 |  | 6000
|  | Number of failures: |  | 7000 |  | 7000
|  | Number of units measured: |  | 8000 |  | 8000
|  | Test duration (hours): |  | 9000 |  | 9000
|  | Input current (mA): |  | 10000 |  | 10000
Tested ambient temperature 1 (Ts, ⁰C):
Tested ambient temperature 2 (Ts, ⁰C):
Tested case temperature 1 (Tc, ⁰C):
Tested case temperature 2 (Tc, ⁰C):
Input voltage:
Input power (watts):
In-Situ Inputs
Drive current for each LED package/array/module (mA):
In-situ case temperature (Tc, ⁰C):
Percentage of initial lumens to project to (e.g. for L70, enter 70):
Results
Time (t) at which to estimate lumen maintenance (hours):
Lumen maintenance at time (t) (%):
|  | Reported LM (hours): | >0

## Product Inputs
Calculations: | 0
Minimum Case Temperature (Ts,1) for Extrapolation (K):
α1 |  | Table 1: Report at each LM-84 Test Condition
B1 |  | Case Temperature 1 | Case Temperature 2
|  | Ambient Temperature (⁰C): | Ambient Temperature (⁰C):
Maximum Case Temperature (Ts,2) for Extrapolation (K): | N/A | Case Temperature (⁰C): | Case Temperature (⁰C):
α2 | N/A | Temperature (⁰K): | Temperature (⁰K):
B2 | N/A | α: | α:
Ea/kb |  | B: | B:
|  | Calculated L (hrs): | Calculated L (hrs):
kb (eV/K) | 8.6173e-05 | Reported L (hrs): | Reported L (hrs):
Ea (eV)
A
B0 |  | Table 2: Report for Interpolation (based on in-situ temperature)
In Situ Case Temperature (Ts,i) (K):
αi
Calculated L (hrs):
Reported L (hrs): | >0

## TM-28 Projection
Number of Samples Tested: | 0 | Number of Samples Tested: | 0 | Number of Samples Tested: | 0 | Ts,1 (⁰C)
Number of Failures: | 0 | Number of Failures: | 0 | Number of Failures: | 0 | Ts,1 (K)
Number of Samples Measured: |  | Number of Samples Measured: |  | Number of Samples Measured: |  | α1
DUT drive current used in the test (mA): | 0 | DUT drive current used in the test (mA): | 0 | DUT drive current used in the test (mA): | 0 | B1
Test duration (hrs): | 0 | Test duration (hrs): | 0 | Test duration (hrs): | #REF! | Ts,2 (⁰C)
Test duration used for projection (hr to hr): | 0 | Test duration used for projection (hr to hr): | 0 | Test duration used for projection (hr to hr): | #REF! | Ts,2 (K) | N/A
Tested case temperature (⁰C): |  | Tested case temperature (⁰C): |  | Tested case temperature (⁰C): | #REF! | α2 | N/A
α: | #NUM! | α: |  | α: | #REF! | B2 | N/A
B: | #NUM! | B: |  | B: | #REF! | Ea/kb
Calculated L (hrs): | #NUM! | Calculated L (hrs): |  | Calculated L (hrs): | #REF! | A
Reported L (hrs): | #NUM! | Reported L (hrs): |  | Reported L (hrs): | #REF! | B0
Ts,i (⁰C)
Ts,i (K)
αi

## TM-28 Report
TM-28 Report
| Table 1: Report at each LM-84 Test Condition |  |  |  | Table 2: Interpolation Report
| Description of LED Light Source Tested (manufacturer, model, catalog number) |  |  |  | (projection based on in-situ temperature entered)
[5 empty] | Ts,1 (⁰C) | -
[5 empty] | Ts,1 (K) | -
[5 empty] | α1 | -
| Sample size | - | Sample size | - | B1 | -
| Number of failures | - | Number of failures | - | Ts,2 (⁰C) | -
| DUT drive current used in the test (mA) | - | DUT drive current used in the test (mA) | - | Ts,2 (K) | -
| Test duration (hours) | - | Test duration (hours) | - | α2 | -
| Test duration used for projection (hour to hour) | - | Test duration used for projection (hour to hour) | - | B2 | -
| Tested case temperature (⁰C) | - | Tested case temperature (⁰C) | - | Ea/kb | -
| α | - | α | - | A | -
| B | - | B | - | B0 | -
| Reported LM(Dk) (hours) | - | Reported LM(Dk) (hours) | - | Ts,i (⁰C) | -
[5 empty] | Ts,i (K) | -
[5 empty] | αi | -
[5 empty] | Reported LM(Dk) (hours) | >0
|  | Report Generated By: |  |  | Notes:
Company:
Date:

## Calculations - Ambient Temp 1 (hidden)
Insert Ambient Temperature 1
Interval Dif. | Interval | Time (hrs) = x | Average Normalized Lumen Maintenance = y | ln(y) | xy | x2 | xlny
- | - | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
- | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
PASS | Sums | 0 | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
Results
|  | Slope: | #NUM!
|  | Intercept: | #NUM!
|  | α: | #NUM!
|  | B: | #NUM!
|  | Calculated L (hrs): | #NUM!
|  | Reported L (hrs): | #NUM!

## Calculations - Ambient Temp 2 (hidden)
Insert Ambient Temperature 2
Interval Dif. | Interval | Time (hrs) = x | Average Normalized Lumen Maintenance = y | ln(y) | xy | x2 | xlny
- | - | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
- | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | - | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
PASS | Sums | 0 | 0% | #NUM! | #NUM! | #VALUE! | #VALUE!
Results
Slope:
Intercept:
α:
B:
Calculated L (hrs):
Reported L (hrs):